## Sheet1
CPM
Phase | Location | Trade | Color | Activity Code | Activity Name | Start | Finish
Fitout | COLO 2 Cell 1 Mech Gallery | Trade 1 | #96CEFF | MG1 | Install Dampers and actuators at Louvers - Upper level (RED) - COLO2 Cell 1 - MG | 2024-10-07 08:00 | 2024-10-11 17:00
Fitout | COLO 2 Cell 1 Mech Gallery | Trade 1 | #96CEFF | MG2 | Install Dampers and actuators at Louvers - Lower level (OA) - COLO2 Cell 1 - MG | 2024-10-09 08:00 | 2024-10-15 17:00
Fitout | COLO 2 Cell 1 Mech Gallery | Trade 1 | #96CEFF | MG3 | Overhead MEP Installation - COLO2 Cell 1 - MG | 2024-10-16 08:00 | 2024-10-29 17:00
Fitout | COLO 2 Cell 1 Mech Gallery | Trade 1 | #96CEFF | MG4 | Deliver AHU into Mech. Gallery - COLO2 Cell 1 - MG | 2024-10-30 08:00 | 2024-10-31 17:00
Fitout | COLO 2 Cell 1 Mech Gallery | Trade 1 | #96CEFF | MG5 | Install Walls and Primer Paint - COLO2 Cell 1 - MG | 2024-11-01 08:00 | 2024-11-14 17:00
Fitout | COLO 2 Cell 1 Mech Gallery | Trade 1 | #96CEFF | MG6 | Placing the AHU - COLO2 Cell 1 - MG | 2024-11-22 08:00 | 2024-11-26 12:00
Fitout | COLO 2 Cell 1 Mech Gallery | Trade 1 | #96CEFF | MG7 | Layout Ceiling and install Pencile Rod - COLO2 Cell 1 - MG | 2024-11-15 08:00 | 2024-11-15 17:00
Fitout | COLO 2 Cell 1 Mech Gallery | Trade 1 | #96CEFF | MG8 | Piping and Electrical Termination to AHUs - COLO2 Cell 1 - MG | 2024-11-26 13:00 | 2024-12-11 12:00
Fitout | COLO 2 Cell 1 Mech Gallery | Trade 1 | #96CEFF | MG9 | Pipe Testing - COLO2 Cell 1 - MG | 2024-12-11 13:00 | 2024-12-13 12:00
Fitout | COLO 2 Cell 1 Mech Gallery | Trade 1 | #96CEFF | MG10 | Install ceiling and Light Fittings - COLO2 Cell 1 - MG | 2024-12-13 13:00 | 2024-12-26 12:00
Fitout | COLO 2 Cell 1 Mech Gallery | Trade 1 | #96CEFF | MG11 | Trim out MEP - COLO2 Cell 1 - MG | 2024-12-18 13:00 | 2024-12-26 12:00
Fitout | COLO 2 Cell 1 Mech Gallery | Trade 1 | #96CEFF | MG12 | Post Wall Overhead MEP - COLO2 Cell 1 - MG | 2024-11-15 08:00 | 2024-12-06 17:00
Fitout | COLO 2 Cell 1 Data Hall | Trade 2 | #C5E5A6 | DH5 | Cable Pulling at PDU & Busway - COLO2 Cell 1 - DH | 2024-12-30 08:00 | 2025-01-20 17:00
Fitout | COLO 2 Cell 1 Data Hall | Trade 2 | #C5E5A6 | DH3 | Overhead MEP and Hangers (Above Ceiling) - COLO2 Cell 1 - DH | 2024-10-07 08:00 | 2024-10-22 17:00
Fitout | COLO 2 Cell 1 Data Hall | Trade 2 | #C5E5A6 | DH4 | HAC install and Rise - COLO2 Cell 1 - DH | 2024-12-19 08:00 | 2024-12-26 17:00
Fitout | COLO 2 Cell 1 Data Hall | Trade 2 | #C5E5A6 | DH2 | Termination at PDU & Busway- COLO2 Cell 1 - DH | 2024-12-19 08:00 | 2025-01-03 17:00
Fitout | COLO 2 Cell 1 Data Hall | Trade 2 | #C5E5A6 | DH6 | Security Screen Installation - COLO2 Cell 1 - DH | 2024-11-15 08:00 | 2024-11-19 17:00
Fitout | COLO 2 Cell 1 Data Hall | Trade 2 | #C5E5A6 | DH7 | Ceiling Grid and Tile - COLO2 Cell 1 - DH | 2024-11-20 08:00 | 2024-11-26 17:00
Fitout | COLO 2 Cell 1 Data Hall | Trade 2 | #C5E5A6 | DH8 | Install PDU's - COLO2 Cell 1 - DH | 2024-12-12 08:00 | 2024-12-18 17:00
Fitout | COLO 2 Cell 1 Data Hall | Trade 2 | #C5E5A6 | DH9 | Overhead MEP Installation (Below Ceiling) - COLO2 Cell 1 - DH | 2024-11-27 08:00 | 2024-12-11 17:00
Fitout | COLO 2 Cell 1 Data Hall | Trade 2 | #C5E5A6 | DH10 | Install Low Voltage Wiring and Fiber Optic - COLO2 Cell 1 - DH | 2024-12-27 08:00 | 2025-01-10 17:00
Fitout | COLO 2 Cell 1 Data Hall | Trade 2 | #C5E5A6 | DH11 | HAC Placing - COLO2 Cell 1 - DH | 2024-12-12 08:00 | 2024-12-18 17:00
Fitout | COLO 2 Cell 1 Data Hall | Trade 2 | #C5E5A6 | DH12 | Finishes and Signage - COLO2 Cell 1 - DH | 2025-01-14 08:00 | 2025-01-20 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C1 | Interior - L1 UPS - COLO2 Cell 1 | 2025-01-02 08:00 | 2025-01-02 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C2 | Interior - L1 MSB - COLO2 Cell 1 | 2025-01-03 08:00 | 2025-01-03 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C3 | Interior - L1 PDUs - COLO2 Cell 1 | 2025-01-06 08:00 | 2025-01-06 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C4 | Interior - L1 AHUs - COLO2 Cell 1 | 2025-01-08 08:00 | 2025-01-08 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C5 | Interior - L1 ATSs - COLO2 Cell 1 | 2025-01-07 08:00 | 2025-01-07 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C6 | Interior - L1 Busway - COLO2 Cell 1 | 2025-01-07 08:00 | 2025-01-07 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C7 | Interior - L1 ADP - COLO2 Cell 1 | 2025-01-06 08:00 | 2025-01-06 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C8 | Interior - L2 UPS - COLO2 Cell 1 | 2025-02-25 08:00 | 2025-03-03 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C9 | Interior - L2 MSB - COLO2 Cell 1 | 2025-03-04 08:00 | 2025-03-10 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C10 | Interior - L2 PDUs - COLO2 Cell 1 | 2025-03-11 08:00 | 2025-03-17 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C11 | Interior - L2 AHUs - COLO2 Cell 1 | 2025-03-25 08:00 | 2025-03-31 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C12 | Interior - L2 ATSs - COLO2 Cell 1 | 2025-03-18 08:00 | 2025-03-24 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C13 | Interior - L2 Busway - COLO2 Cell 1 | 2025-03-18 08:00 | 2025-03-24 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C14 | Interior - L2 ADP - COLO2 Cell 1 | 2025-03-11 08:00 | 2025-03-17 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C15 | Interior - L3 UPS - COLO2 Cell 1 | 2025-03-25 08:00 | 2025-03-31 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C16 | Interior - L3 MSB - COLO2 Cell 1 | 2025-04-01 08:00 | 2025-04-07 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C17 | Interior - L3 PDUs - COLO2 Cell 1 | 2025-04-08 08:00 | 2025-04-14 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C18 | Interior - L3 AHUs - COLO2 Cell 1 | 2025-04-22 08:00 | 2025-04-28 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C19 | Interior - L3 ATSs - COLO2 Cell 1 | 2025-04-15 08:00 | 2025-04-21 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C20 | Interior - L3 Busway - COLO2 Cell 1 | 2025-04-15 08:00 | 2025-04-21 17:00
Fitout | COLO 2 Cell 1 Commissioning | Trade 3 | #F59CA6 | C21 | Interior - L3 ADP - COLO2 Cell 1 | 2025-04-08 08:00 | 2025-04-14 17:00
Fitout | COLO 2 Cell 1 Electrical Room | Trade 4 | #FFC000 | ER1 | Install Walls and Primer Paint - COLO2 Cell 1 - ER | 2024-10-07 08:00 | 2024-10-18 17:00
Fitout | COLO 2 Cell 1 Electrical Room | Trade 4 | #FFC000 | ER2 | Sprinklers and Overhead MEP (Above Ceiling) - COLO2 Cell 1 - ER | 2024-10-23 08:00 | 2024-11-05 17:00
Fitout | COLO 2 Cell 1 Electrical Room | Trade 4 | #FFC000 | ER3 | Install Upper Screens - COLO2 Cell 1 - ER | 2024-10-16 08:00 | 2024-10-22 17:00
Fitout | COLO 2 Cell 1 Electrical Room | Trade 4 | #FFC000 | ER4 | Install Ceiling - COLO2 Cell 1 - ER | 2024-11-06 08:00 | 2024-11-08 17:00
Fitout | COLO 2 Cell 1 Electrical Room | Trade 4 | #FFC000 | ER5 | Below Ceiling MEP Rough In - COLO2 Cell 1 - ER | 2024-11-19 08:00 | 2024-12-03 17:00
Fitout | COLO 2 Cell 1 Electrical Room | Trade 4 | #FFC000 | ER6 | Installation of ADP & ATS - COLO2 Cell 1 - ER | 2024-11-29 08:00 | 2024-12-05 17:00
Fitout | COLO 2 Cell 1 Electrical Room | Trade 4 | #FFC000 | ER7 | Installation of UPS Equipment - COLO2 Cell 1 - ER | 2024-12-04 08:00 | 2024-12-10 17:00
Fitout | COLO 2 Cell 1 Electrical Room | Trade 4 | #FFC000 | ER8 | Connet to Cable tray and conduit equipment - COLO2 Cell 1 - ER | 2024-12-03 08:00 | 2024-12-09 17:00
Fitout | COLO 2 Cell 1 Electrical Room | Trade 4 | #FFC000 | ER9 | Cable Pulling at Elec. Equipment - COLO2 Cell 1 - ER | 2024-12-18 08:00 | 2025-01-09 17:00
Fitout | COLO 2 Cell 1 Electrical Room | Trade 4 | #FFC000 | ER10 | Door Frame Installation - COLO2 Cell 1 - ER | 2025-01-03 08:00 | 2025-01-09 17:00
Fitout | COLO 2 Cell 1 Electrical Room | Trade 4 | #FFC000 | ER11 | Finishes and Signage - COLO2 Cell 1 - ER | 2025-01-10 08:00 | 2025-01-16 17:00
Fitout | COLO 2 Cell 1 Electrical Room | Trade 4 | #FFC000 | ER12 | Installation of MSB - COLO2 Cell 1 - ER | 2024-11-29 08:00 | 2024-12-05 17:00
Fitout | COLO 2 Cell 1 Cx L4 | Trade 5 | #FFFFFF | L4 | COLO2 Cx LEV4 - COLO2 | 2025-05-01 08:00 | 2025-06-04 17:00
Fitout | COLO 2 Cell 1 Cx L5 | Trade 5 | #FFFFFF | L5 | COLO2 Cx LEV5 / IST - COLO2 | 2025-06-05 08:00 | 2025-06-06 17:00
Fitout | COLO 2 Cell 2 Mech Gallery | Trade 1 | #96CEFF | MG1 | Install Dampers and actuators at Louvers - Upper level (RED) - COLO2 Cell 2 - MG | 2024-10-14 08:00 | 2024-10-18 17:00
Fitout | COLO 2 Cell 2 Mech Gallery | Trade 1 | #96CEFF | MG2 | Install Dampers and actuators at Louvers - Lower level (OA) - COLO2 Cell 2 - MG | 2024-10-16 08:00 | 2024-10-22 17:00
Fitout | COLO 2 Cell 2 Mech Gallery | Trade 1 | #96CEFF | MG3 | Overhead MEP Installation - COLO2 Cell 2 - MG | 2024-10-30 08:00 | 2024-11-12 17:00
Fitout | COLO 2 Cell 2 Mech Gallery | Trade 1 | #96CEFF | MG4 | Deliver AHU into Mech. Gallery - COLO2 Cell 2 - MG | 2024-11-13 08:00 | 2024-11-14 17:00
Fitout | COLO 2 Cell 2 Mech Gallery | Trade 1 | #96CEFF | MG5 | Install Walls and Primer Paint - COLO2 Cell 2 - MG | 2024-11-15 08:00 | 2024-11-29 17:00
Fitout | COLO 2 Cell 2 Mech Gallery | Trade 1 | #96CEFF | MG6 | Placing the AHU - COLO2 Cell 2 - MG | 2024-12-09 08:00 | 2024-12-11 12:00
Fitout | COLO 2 Cell 2 Mech Gallery | Trade 1 | #96CEFF | MG7 | Layout Ceiling and install Pencile Rod - COLO2 Cell 2 - MG | 2024-12-02 08:00 | 2024-12-02 17:00
Fitout | COLO 2 Cell 2 Mech Gallery | Trade 1 | #96CEFF | MG8 | Piping and Electrical Termination to AHUs - COLO2 Cell 2 - MG | 2024-12-11 13:00 | 2024-12-26 12:00
Fitout | COLO 2 Cell 2 Mech Gallery | Trade 1 | #96CEFF | MG9 | Pipe Testing - COLO2 Cell 2 - MG | 2024-12-26 13:00 | 2024-12-30 12:00
Fitout | COLO 2 Cell 2 Mech Gallery | Trade 1 | #96CEFF | MG10 | Install ceiling and Light Fittings - COLO2 Cell 2 - MG | 2024-12-30 13:00 | 2025-01-10 12:00
Fitout | COLO 2 Cell 2 Mech Gallery | Trade 1 | #96CEFF | MG11 | Trim out MEP - COLO2 Cell 2 - MG | 2025-01-03 13:00 | 2025-01-10 12:00
Fitout | COLO 2 Cell 2 Mech Gallery | Trade 1 | #96CEFF | MG12 | Post Wall Overhead MEP - COLO2 Cell 2 - MG | 2024-12-02 08:00 | 2024-12-20 17:00
Fitout | COLO 2 Cell 2 Data Hall | Trade 2 | #C5E5A6 | DH5 | Install Walls and Primer Paint - COLO2 Cell 2 - ER | 2024-10-21 08:00 | 2024-11-01 17:00
Fitout | COLO 2 Cell 2 Data Hall | Trade 2 | #C5E5A6 | DH3 | Sprinklers and Overhead MEP (Above Ceiling) - COLO2 Cell 2 - ER | 2024-11-06 08:00 | 2024-11-19 17:00
Fitout | COLO 2 Cell 2 Data Hall | Trade 2 | #C5E5A6 | DH4 | Install Upper Screens - COLO2 Cell 2 - ER | 2024-10-30 08:00 | 2024-11-05 17:00
Fitout | COLO 2 Cell 2 Data Hall | Trade 2 | #C5E5A6 | DH2 | Install Ceiling - COLO2 Cell 2 - ER | 2024-11-20 08:00 | 2024-11-22 17:00
Fitout | COLO 2 Cell 2 Data Hall | Trade 2 | #C5E5A6 | DH6 | Below Ceiling MEP Rough In - COLO2 Cell 2 - ER | 2024-12-04 08:00 | 2024-12-17 17:00
Fitout | COLO 2 Cell 2 Data Hall | Trade 2 | #C5E5A6 | DH7 | Installation of ADP & ATS - COLO2 Cell 2 - ER | 2024-12-06 08:00 | 2024-12-12 17:00
Fitout | COLO 2 Cell 2 Data Hall | Trade 2 | #C5E5A6 | DH8 | Installation of UPS Equipment - COLO2 Cell 2 - ER | 2024-12-11 08:00 | 2024-12-17 17:00
Fitout | COLO 2 Cell 2 Data Hall | Trade 2 | #C5E5A6 | DH9 | Connet to Cable tray and conduit equipment - COLO2 Cell 2 - ER | 2024-12-10 08:00 | 2024-12-16 17:00
Fitout | COLO 2 Cell 2 Data Hall | Trade 2 | #C5E5A6 | DH10 | Cable Pulling at Elec. Equipment - COLO2 Cell 2 - ER | 2025-01-10 08:00 | 2025-01-30 17:00
Fitout | COLO 2 Cell 2 Data Hall | Trade 2 | #C5E5A6 | DH11 | Door Frame Installation - COLO2 Cell 2 - ER | 2025-01-03 08:00 | 2025-01-09 17:00
Fitout | COLO 2 Cell 2 Data Hall | Trade 2 | #C5E5A6 | DH12 | Finishes and Signage - COLO2 Cell 2 - ER | 2025-01-28 08:00 | 2025-02-03 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C1 | Installation of MSB - COLO2 Cell 2 - ER | 2024-12-06 08:00 | 2024-12-12 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C2 | Termination at PDU & Busway - COLO2 Cell 2 - DH | 2025-01-21 08:00 | 2025-02-10 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C3 | Overhead MEP and Hangers (Above Ceiling) - COLO2 Cell 2 - DH | 2024-10-23 08:00 | 2024-11-07 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C4 | HAC install and Rise - COLO2 Cell 2 - DH | 2025-01-06 08:00 | 2025-01-10 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C5 | Cable Pulling at PDU & Busway- COLO2 Cell 2 - DH | 2025-01-06 08:00 | 2025-01-17 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C6 | Security Screen Installation - COLO2 Cell 2 - DH | 2024-12-02 08:00 | 2024-12-04 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C7 | Ceiling Grid and Tile - COLO2 Cell 2 - DH | 2024-12-05 08:00 | 2024-12-11 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C8 | Install PDU's - COLO2 Cell 2 - DH | 2024-12-27 08:00 | 2025-01-03 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C9 | Overhead MEP Installation (Below Ceiling) - COLO2 Cell 2 - DH | 2024-12-12 08:00 | 2024-12-26 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C10 | Install Low Voltage Wiring and Fiber Optic - COLO2 Cell 2 - DH | 2025-01-13 08:00 | 2025-01-24 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C11 | HAC Placing - COLO2 Cell 2 - DH | 2024-12-27 08:00 | 2025-01-03 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C12 | Finishes and Signage - COLO2 Cell 2 - DH | 2025-02-04 08:00 | 2025-02-10 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C13 | Interior - L1 UPS - COLO2 Cell 2 | 2025-01-02 08:00 | 2025-01-02 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C14 | Interior - L1 MSB - COLO2 Cell 2 | 2025-01-03 08:00 | 2025-01-03 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C15 | Interior - L1 PDUs - COLO2 Cell 2 | 2025-01-06 08:00 | 2025-01-06 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C16 | Interior - L1 AHUs - COLO2 Cell 2 | 2025-01-08 08:00 | 2025-01-08 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C17 | Interior - L1 ATSs - COLO2 Cell 2 | 2025-01-07 08:00 | 2025-01-07 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C18 | Interior - L1 Busway - COLO2 Cell 2 | 2025-01-07 08:00 | 2025-01-07 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C19 | Interior - L1 ADP - COLO2 Cell 2 | 2025-01-06 08:00 | 2025-01-06 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C20 | Interior - L2 UPS - COLO2 Cell 2 | 2025-02-25 08:00 | 2025-03-03 17:00
Fitout | COLO 2 Cell 2 Commissioning | Trade 3 | #F59CA6 | C21 | Interior - L2 MSB - COLO2 Cell 2 | 2025-03-04 08:00 | 2025-03-10 17:00
Fitout | COLO 2 Cell 2 Electrical Room | Trade 4 | #FFC000 | ER1 | Interior - L2 PDUs - COLO2 Cell 2 | 2025-03-11 08:00 | 2025-03-17 17:00
Fitout | COLO 2 Cell 2 Electrical Room | Trade 4 | #FFC000 | ER2 | Interior - L2 AHUs - COLO2 Cell 2 | 2025-03-25 08:00 | 2025-03-31 17:00
Fitout | COLO 2 Cell 2 Electrical Room | Trade 4 | #FFC000 | ER3 | Interior - L2 ATSs - COLO2 Cell 2 | 2025-03-18 08:00 | 2025-03-24 17:00
Fitout | COLO 2 Cell 2 Electrical Room | Trade 4 | #FFC000 | ER4 | Interior - L2 Busway - COLO2 Cell 2 | 2025-03-18 08:00 | 2025-03-24 17:00
Fitout | COLO 2 Cell 2 Electrical Room | Trade 4 | #FFC000 | ER5 | Interior - L2 ADP - COLO2 Cell 2 | 2025-03-11 08:00 | 2025-03-17 17:00
Fitout | COLO 2 Cell 2 Electrical Room | Trade 4 | #FFC000 | ER6 | Interior - L3 UPS - COLO2 Cell 2 | 2025-03-25 08:00 | 2025-03-31 17:00
Fitout | COLO 2 Cell 2 Electrical Room | Trade 4 | #FFC000 | ER7 | Interior - L3 MSB - COLO2 Cell 2 | 2025-04-01 08:00 | 2025-04-07 17:00
Fitout | COLO 2 Cell 2 Electrical Room | Trade 4 | #FFC000 | ER8 | Interior - L3 PDUs - COLO2 Cell 2 | 2025-04-08 08:00 | 2025-04-14 17:00
Fitout | COLO 2 Cell 2 Electrical Room | Trade 4 | #FFC000 | ER9 | Interior - L3 AHUs - COLO2 Cell 2 | 2025-04-22 08:00 | 2025-04-28 17:00
Fitout | COLO 2 Cell 2 Electrical Room | Trade 4 | #FFC000 | ER10 | Interior - L3 ATSs - COLO2 Cell 2 | 2025-04-15 08:00 | 2025-04-21 17:00
Fitout | COLO 2 Cell 2 Electrical Room | Trade 4 | #FFC000 | ER11 | Interior - L3 Busway - COLO2 Cell 2 | 2025-04-15 08:00 | 2025-04-21 17:00
Fitout | COLO 2 Cell 2 Electrical Room | Trade 4 | #FFC000 | ER12 | Interior - L3 ADP - COLO2 Cell 2 | 2025-04-08 08:00 | 2025-04-14 17:00

## CFA - Schedule
|  | 2024 | 2024 | [84 empty] | 2025
|  | Oct | Oct | [23 empty] | Nov | [29 empty] | Dec | [30 empty] | Jan | [30 empty] | Feb | [27 empty] | Mar | [30 empty] | Apr | [29 empty] | May | [30 empty] | Jun
|  | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 01 | 02 | 03 | 04 | 05 | 06
phase | location | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri
Fitout | COLO 2 Cell 1 Commissioning | Jan 02 Thu: C1; Jan 03 Fri: C2; Jan 06 Mon: C3; Jan 07 Tue: C5; Jan 08 Wed: C4; Feb 25 Tue: C8; Feb 26 Wed: C8; Feb 27 Thu: C8; Feb 28 Fri: C8; Mar 01 Sat: C8; Mar 02 Sun: C8; Mar 03 Mon: C8; Mar 04 Tue: C9; Mar 05 Wed: C9; Mar 06 Thu: C9; Mar 07 Fri: C9; Mar 08 Sat: C9; Mar 09 Sun: C9; Mar 10 Mon: C9; Mar 11 Tue: C10; Mar 12 Wed: C10; Mar 13 Thu: C10; Mar 14 Fri: C10; Mar 15 Sat: C10; Mar 16 Sun: C10; Mar 17 Mon: C10; Mar 18 Tue: C12; Mar 19 Wed: C12; Mar 20 Thu: C12; Mar 21 Fri: C12; Mar 22 Sat: C12; Mar 23 Sun: C12; Mar 24 Mon: C12; Mar 25 Tue: C11; Mar 26 Wed: C11; Mar 27 Thu: C11; Mar 28 Fri: C11; Mar 29 Sat: C11; Mar 30 Sun: C11; Mar 31 Mon: C11; Apr 01 Tue: C16; Apr 02 Wed: C16; Apr 03 Thu: C16; Apr 04 Fri: C16; Apr 05 Sat: C16; Apr 06 Sun: C16; Apr 07 Mon: C16; Apr 08 Tue: C17; Apr 09 Wed: C17; Apr 10 Thu: C17; Apr 11 Fri: C17; Apr 12 Sat: C17; Apr 13 Sun: C17; Apr 14 Mon: C17; Apr 15 Tue: C19; Apr 16 Wed: C19; Apr 17 Thu: C19; Apr 18 Fri: C19; Apr 19 Sat: C19; Apr 20 Sun: C19; Apr 21 Mon: C19; Apr 22 Tue: C18; Apr 23 Wed: C18; Apr 24 Thu: C18; Apr 25 Fri: C18; Apr 26 Sat: C18; Apr 27 Sun: C18; Apr 28 Mon: C18
[93 empty] | C7 | C6 | [62 empty] | C14 | C14 | C14 | C14 | C14 | C14 | C14 | C13 | C13 | C13 | C13 | C13 | C13 | C13 | C15 | C15 | C15 | C15 | C15 | C15 | C15 | [7 empty] | C21 | C21 | C21 | C21 | C21 | C21 | C21 | C20 | C20 | C20 | C20 | C20 | C20 | C20
| COLO 2 Cell 1 Data Hall | Oct 07 Mon: DH3; Oct 08 Tue: DH3; Oct 09 Wed: DH3; Oct 10 Thu: DH3; Oct 11 Fri: DH3; Oct 12 Sat: DH3; Oct 13 Sun: DH3; Oct 14 Mon: DH3; Oct 15 Tue: DH3; Oct 16 Wed: DH3; Oct 17 Thu: DH3; Oct 18 Fri: DH3; Oct 19 Sat: DH3; Oct 20 Sun: DH3; Oct 21 Mon: DH3; Oct 22 Tue: DH3; Nov 15 Fri: DH6; Nov 16 Sat: DH6; Nov 17 Sun: DH6; Nov 18 Mon: DH6; Nov 19 Tue: DH6; Nov 20 Wed: DH7; Nov 21 Thu: DH7; Nov 22 Fri: DH7; Nov 23 Sat: DH7; Nov 24 Sun: DH7; Nov 25 Mon: DH7; Nov 26 Tue: DH7; Nov 27 Wed: DH9; Nov 28 Thu: DH9; Nov 29 Fri: DH9; Nov 30 Sat: DH9; Dec 01 Sun: DH9; Dec 02 Mon: DH9; Dec 03 Tue: DH9; Dec 04 Wed: DH9; Dec 05 Thu: DH9; Dec 06 Fri: DH9; Dec 07 Sat: DH9; Dec 08 Sun: DH9; Dec 09 Mon: DH9; Dec 10 Tue: DH9; Dec 11 Wed: DH9; Dec 12 Thu: DH11; Dec 13 Fri: DH11; Dec 14 Sat: DH11; Dec 15 Sun: DH11; Dec 16 Mon: DH11; Dec 17 Tue: DH11; Dec 18 Wed: DH11; Dec 19 Thu: DH4; Dec 20 Fri: DH4; Dec 21 Sat: DH4; Dec 22 Sun: DH4; Dec 23 Mon: DH4; Dec 24 Tue: DH4; Dec 25 Wed: DH4; Dec 26 Thu: DH4; Dec 27 Fri: DH10; Dec 28 Sat: DH10; Dec 29 Sun: DH10; Dec 30 Mon: DH10; Dec 31 Tue: DH10; Jan 01 Wed: DH10; Jan 02 Thu: DH10; Jan 03 Fri: DH10; Jan 04 Sat: DH10; Jan 05 Sun: DH10; Jan 06 Mon: DH10; Jan 07 Tue: DH10; Jan 08 Wed: DH10; Jan 09 Thu: DH10; Jan 10 Fri: DH10; Jan 14 Tue: DH12; Jan 15 Wed: DH12; Jan 16 Thu: DH12; Jan 17 Fri: DH12; Jan 18 Sat: DH12; Jan 19 Sun: DH12; Jan 20 Mon: DH12
[68 empty] | DH8 | DH8 | DH8 | DH8 | DH8 | DH8 | DH8 | DH2 | DH2 | DH2 | DH2 | DH2 | DH2 | DH2 | DH2 | DH2 | DH2 | DH2 | DH2 | DH2 | DH2 | DH2 | DH2
[86 empty] | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5
| COLO 2 Cell 1 Mech Gallery | Oct 07 Mon: MG1; Oct 08 Tue: MG1; Oct 09 Wed: MG1; Oct 10 Thu: MG1; Oct 11 Fri: MG1; Oct 16 Wed: MG3; Oct 17 Thu: MG3; Oct 18 Fri: MG3; Oct 19 Sat: MG3; Oct 20 Sun: MG3; Oct 21 Mon: MG3; Oct 22 Tue: MG3; Oct 23 Wed: MG3; Oct 24 Thu: MG3; Oct 25 Fri: MG3; Oct 26 Sat: MG3; Oct 27 Sun: MG3; Oct 28 Mon: MG3; Oct 29 Tue: MG3; Oct 30 Wed: MG4; Oct 31 Thu: MG4; Nov 01 Fri: MG5; Nov 02 Sat: MG5; Nov 03 Sun: MG5; Nov 04 Mon: MG5; Nov 05 Tue: MG5; Nov 06 Wed: MG5; Nov 07 Thu: MG5; Nov 08 Fri: MG5; Nov 09 Sat: MG5; Nov 10 Sun: MG5; Nov 11 Mon: MG5; Nov 12 Tue: MG5; Nov 13 Wed: MG5; Nov 14 Thu: MG5; Nov 15 Fri: MG12; Nov 16 Sat: MG12; Nov 17 Sun: MG12; Nov 18 Mon: MG12; Nov 19 Tue: MG12; Nov 20 Wed: MG12; Nov 21 Thu: MG12; Nov 22 Fri: MG12; Nov 23 Sat: MG12; Nov 24 Sun: MG12; Nov 25 Mon: MG12; Nov 26 Tue: MG12; Nov 27 Wed: MG12; Nov 28 Thu: MG12; Nov 29 Fri: MG12; Nov 30 Sat: MG12; Dec 01 Sun: MG12; Dec 02 Mon: MG12; Dec 03 Tue: MG12; Dec 04 Wed: MG12; Dec 05 Thu: MG12; Dec 06 Fri: MG12; Dec 13 Fri: MG10; Dec 14 Sat: MG10; Dec 15 Sun: MG10; Dec 16 Mon: MG10; Dec 17 Tue: MG10; Dec 18 Wed: MG10; Dec 19 Thu: MG10; Dec 20 Fri: MG10; Dec 21 Sat: MG10; Dec 22 Sun: MG10; Dec 23 Mon: MG10; Dec 24 Tue: MG10; Dec 25 Wed: MG10; Dec 26 Thu: MG10
|  |  |  | MG2 | MG2 | MG2 | MG2 | MG2 | MG2 | MG2 | [30 empty] | MG7 | [6 empty] | MG6 | MG6 | MG6 | MG6 | MG6 | [14 empty] | MG9 | MG9 | MG9 |  |  |  |  | MG11 | MG11 | MG11 | MG11 | MG11 | MG11 | MG11 | MG11 | MG11
[52 empty] | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8
COLO 2 Cell 1 Cx L4 | bar: May 01 Thu to Jun 04 Wed
COLO 2 Cell 1 Cx L5 | bar: Jun 05 Thu to Jun 06 Fri
| COLO 2 Cell 1 Electrical Room | Oct 07 Mon: ER1; Oct 08 Tue: ER1; Oct 09 Wed: ER1; Oct 10 Thu: ER1; Oct 11 Fri: ER1; Oct 12 Sat: ER1; Oct 13 Sun: ER1; Oct 14 Mon: ER1; Oct 15 Tue: ER1; Oct 16 Wed: ER1; Oct 17 Thu: ER1; Oct 18 Fri: ER1; Oct 23 Wed: ER2; Oct 24 Thu: ER2; Oct 25 Fri: ER2; Oct 26 Sat: ER2; Oct 27 Sun: ER2; Oct 28 Mon: ER2; Oct 29 Tue: ER2; Oct 30 Wed: ER2; Oct 31 Thu: ER2; Nov 01 Fri: ER2; Nov 02 Sat: ER2; Nov 03 Sun: ER2; Nov 04 Mon: ER2; Nov 05 Tue: ER2; Nov 06 Wed: ER4; Nov 07 Thu: ER4; Nov 08 Fri: ER4; Nov 29 Fri: ER12; Nov 30 Sat: ER12; Dec 01 Sun: ER12; Dec 02 Mon: ER12; Dec 03 Tue: ER12; Dec 04 Wed: ER12; Dec 05 Thu: ER12; Jan 03 Fri: ER10; Jan 04 Sat: ER10; Jan 05 Sun: ER10; Jan 06 Mon: ER10; Jan 07 Tue: ER10; Jan 08 Wed: ER10; Jan 09 Thu: ER10; Jan 10 Fri: ER11; Jan 11 Sat: ER11; Jan 12 Sun: ER11; Jan 13 Mon: ER11; Jan 14 Tue: ER11; Jan 15 Wed: ER11; Jan 16 Thu: ER11
[11 empty] | ER3 | ER3 | ER3 | ER3 | ER3 | ER3 | ER3 | [27 empty] | ER5 | ER5 | ER5 | ER5 | ER5 | ER5 | ER5 | ER5 | ER5 | ER5 | ER5 | ER5 | ER5 | ER5 | ER5 | ER7 | ER7 | ER7 | ER7 | ER7 | ER7 | ER7 | [7 empty] | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9 | ER9
[55 empty] | ER6 | ER6 | ER6 | ER6 | ER6 | ER6 | ER6
[59 empty] | ER8 | ER8 | ER8 | ER8 | ER8 | ER8 | ER8
| COLO 2 Cell 2 Commissioning | Oct 23 Wed: C3; Oct 24 Thu: C3; Oct 25 Fri: C3; Oct 26 Sat: C3; Oct 27 Sun: C3; Oct 28 Mon: C3; Oct 29 Tue: C3; Oct 30 Wed: C3; Oct 31 Thu: C3; Nov 01 Fri: C3; Nov 02 Sat: C3; Nov 03 Sun: C3; Nov 04 Mon: C3; Nov 05 Tue: C3; Nov 06 Wed: C3; Nov 07 Thu: C3; Dec 02 Mon: C6; Dec 03 Tue: C6; Dec 04 Wed: C6; Dec 06 Fri: C1; Dec 07 Sat: C1; Dec 08 Sun: C1; Dec 09 Mon: C1; Dec 10 Tue: C1; Dec 11 Wed: C1; Dec 12 Thu: C1; Dec 27 Fri: C11; Dec 28 Sat: C11; Dec 29 Sun: C11; Dec 30 Mon: C11; Dec 31 Tue: C11; Jan 01 Wed: C11; Jan 02 Thu: C11; Jan 03 Fri: C11; Jan 06 Mon: C15; Jan 07 Tue: C17; Jan 08 Wed: C16; Jan 13 Mon: C10; Jan 14 Tue: C10; Jan 15 Wed: C10; Jan 16 Thu: C10; Jan 17 Fri: C10; Jan 18 Sat: C10; Jan 19 Sun: C10; Jan 20 Mon: C10; Jan 21 Tue: C10; Jan 22 Wed: C10; Jan 23 Thu: C10; Jan 24 Fri: C10; Feb 04 Tue: C12; Feb 05 Wed: C12; Feb 06 Thu: C12; Feb 07 Fri: C12; Feb 08 Sat: C12; Feb 09 Sun: C12; Feb 10 Mon: C12; Feb 25 Tue: C20; Feb 26 Wed: C20; Feb 27 Thu: C20; Feb 28 Fri: C20; Mar 01 Sat: C20; Mar 02 Sun: C20; Mar 03 Mon: C20; Mar 04 Tue: C21; Mar 05 Wed: C21; Mar 06 Thu: C21; Mar 07 Fri: C21; Mar 08 Sat: C21; Mar 09 Sun: C21; Mar 10 Mon: C21
[61 empty] | C7 | C7 | C7 | C7 | C7 | C7 | C7 | C9 | C9 | C9 | C9 | C9 | C9 | C9 | C9 | C9 | C9 | C9 | C9 | C9 | C9 | C9 | [6 empty] | C13 | C14 |  |  | C19 | C18 | [13 empty] | C2 | C2 | C2 | C2 | C2 | C2 | C2 | C2 | C2 | C2 | C2 | C2 | C2 | C2 | C2 | C2 | C2 | C2 | C2 | C2 | C2
[83 empty] | C8 | C8 | C8 | C8 | C8 | C8 | C8 | C8 |  |  | C4 | C4 | C4 | C4 | C4
[93 empty] | C5 | C5 | C5 | C5 | C5 | C5 | C5 | C5 | C5 | C5 | C5 | C5
| COLO 2 Cell 2 Data Hall | Oct 30 Wed: DH4; Oct 31 Thu: DH4; Nov 01 Fri: DH4; Nov 02 Sat: DH4; Nov 03 Sun: DH4; Nov 04 Mon: DH4; Nov 05 Tue: DH4; Nov 06 Wed: DH3; Nov 07 Thu: DH3; Nov 08 Fri: DH3; Nov 09 Sat: DH3; Nov 10 Sun: DH3; Nov 11 Mon: DH3; Nov 12 Tue: DH3; Nov 13 Wed: DH3; Nov 14 Thu: DH3; Nov 15 Fri: DH3; Nov 16 Sat: DH3; Nov 17 Sun: DH3; Nov 18 Mon: DH3; Nov 19 Tue: DH3; Nov 20 Wed: DH2; Nov 21 Thu: DH2; Nov 22 Fri: DH2; Dec 04 Wed: DH6; Dec 05 Thu: DH6; Dec 06 Fri: DH6; Dec 07 Sat: DH6; Dec 08 Sun: DH6; Dec 09 Mon: DH6; Dec 10 Tue: DH6; Dec 11 Wed: DH6; Dec 12 Thu: DH6; Dec 13 Fri: DH6; Dec 14 Sat: DH6; Dec 15 Sun: DH6; Dec 16 Mon: DH6; Dec 17 Tue: DH6; Jan 03 Fri: DH11; Jan 04 Sat: DH11; Jan 05 Sun: DH11; Jan 06 Mon: DH11; Jan 07 Tue: DH11; Jan 08 Wed: DH11; Jan 09 Thu: DH11; Jan 10 Fri: DH10; Jan 11 Sat: DH10; Jan 12 Sun: DH10; Jan 13 Mon: DH10; Jan 14 Tue: DH10; Jan 15 Wed: DH10; Jan 16 Thu: DH10; Jan 17 Fri: DH10; Jan 18 Sat: DH10; Jan 19 Sun: DH10; Jan 20 Mon: DH10; Jan 21 Tue: DH10; Jan 22 Wed: DH10; Jan 23 Thu: DH10; Jan 24 Fri: DH10; Jan 25 Sat: DH10; Jan 26 Sun: DH10; Jan 27 Mon: DH10; Jan 28 Tue: DH10; Jan 29 Wed: DH10; Jan 30 Thu: DH10
[16 empty] | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | DH5 | [34 empty] | DH7 | DH7 | DH7 | DH7 | DH7 | DH7 | DH7 | [46 empty] | DH12 | DH12 | DH12 | DH12 | DH12 | DH12 | DH12
[67 empty] | DH8 | DH8 | DH8 | DH8 | DH8 | DH8 | DH8
[66 empty] | DH9 | DH9 | DH9 | DH9 | DH9 | DH9 | DH9
| COLO 2 Cell 2 Electrical Room | Mar 11 Tue: ER1; Mar 12 Wed: ER1; Mar 13 Thu: ER1; Mar 14 Fri: ER1; Mar 15 Sat: ER1; Mar 16 Sun: ER1; Mar 17 Mon: ER1; Mar 18 Tue: ER3; Mar 19 Wed: ER3; Mar 20 Thu: ER3; Mar 21 Fri: ER3; Mar 22 Sat: ER3; Mar 23 Sun: ER3; Mar 24 Mon: ER3; Mar 25 Tue: ER2; Mar 26 Wed: ER2; Mar 27 Thu: ER2; Mar 28 Fri: ER2; Mar 29 Sat: ER2; Mar 30 Sun: ER2; Mar 31 Mon: ER2; Apr 01 Tue: ER7; Apr 02 Wed: ER7; Apr 03 Thu: ER7; Apr 04 Fri: ER7; Apr 05 Sat: ER7; Apr 06 Sun: ER7; Apr 07 Mon: ER7; Apr 08 Tue: ER12; Apr 09 Wed: ER12; Apr 10 Thu: ER12; Apr 11 Fri: ER12; Apr 12 Sat: ER12; Apr 13 Sun: ER12; Apr 14 Mon: ER12; Apr 15 Tue: ER10; Apr 16 Wed: ER10; Apr 17 Thu: ER10; Apr 18 Fri: ER10; Apr 19 Sat: ER10; Apr 20 Sun: ER10; Apr 21 Mon: ER10; Apr 22 Tue: ER9; Apr 23 Wed: ER9; Apr 24 Thu: ER9; Apr 25 Fri: ER9; Apr 26 Sat: ER9; Apr 27 Sun: ER9; Apr 28 Mon: ER9
[157 empty] | ER5 | ER5 | ER5 | ER5 | ER5 | ER5 | ER5 | ER4 | ER4 | ER4 | ER4 | ER4 | ER4 | ER4 | ER6 | ER6 | ER6 | ER6 | ER6 | ER6 | ER6 | [7 empty] | ER8 | ER8 | ER8 | ER8 | ER8 | ER8 | ER8 | ER11 | ER11 | ER11 | ER11 | ER11 | ER11 | ER11
| COLO 2 Cell 2 Mech Gallery | Oct 14 Mon: MG1; Oct 15 Tue: MG1; Oct 16 Wed: MG1; Oct 17 Thu: MG1; Oct 18 Fri: MG1; Oct 30 Wed: MG3; Oct 31 Thu: MG3; Nov 01 Fri: MG3; Nov 02 Sat: MG3; Nov 03 Sun: MG3; Nov 04 Mon: MG3; Nov 05 Tue: MG3; Nov 06 Wed: MG3; Nov 07 Thu: MG3; Nov 08 Fri: MG3; Nov 09 Sat: MG3; Nov 10 Sun: MG3; Nov 11 Mon: MG3; Nov 12 Tue: MG3; Nov 13 Wed: MG4; Nov 14 Thu: MG4; Nov 15 Fri: MG5; Nov 16 Sat: MG5; Nov 17 Sun: MG5; Nov 18 Mon: MG5; Nov 19 Tue: MG5; Nov 20 Wed: MG5; Nov 21 Thu: MG5; Nov 22 Fri: MG5; Nov 23 Sat: MG5; Nov 24 Sun: MG5; Nov 25 Mon: MG5; Nov 26 Tue: MG5; Nov 27 Wed: MG5; Nov 28 Thu: MG5; Nov 29 Fri: MG5; Dec 02 Mon: MG12; Dec 03 Tue: MG12; Dec 04 Wed: MG12; Dec 05 Thu: MG12; Dec 06 Fri: MG12; Dec 07 Sat: MG12; Dec 08 Sun: MG12; Dec 09 Mon: MG12; Dec 10 Tue: MG12; Dec 11 Wed: MG12; Dec 12 Thu: MG12; Dec 13 Fri: MG12; Dec 14 Sat: MG12; Dec 15 Sun: MG12; Dec 16 Mon: MG12; Dec 17 Tue: MG12; Dec 18 Wed: MG12; Dec 19 Thu: MG12; Dec 20 Fri: MG12; Dec 30 Mon: MG10; Dec 31 Tue: MG10; Jan 01 Wed: MG10; Jan 02 Thu: MG10; Jan 03 Fri: MG10; Jan 04 Sat: MG10; Jan 05 Sun: MG10; Jan 06 Mon: MG10; Jan 07 Tue: MG10; Jan 08 Wed: MG10; Jan 09 Thu: MG10; Jan 10 Fri: MG10
[11 empty] | MG2 | MG2 | MG2 | MG2 | MG2 | MG2 | MG2 | [40 empty] | MG7 | [6 empty] | MG6 | MG6 | MG6 | [14 empty] | MG9 | MG9 | MG9 | MG9 | MG9 |  |  |  | MG11 | MG11 | MG11 | MG11 | MG11 | MG11 | MG11 | MG11
[67 empty] | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8 | MG8

## CFA - Legends
Fitout
Trade 1
MG1 | Install Dampers and actuators at Louvers - Upper level (RED) - COLO2 Cell 1 - MG
MG10 | Install ceiling and Light Fittings - COLO2 Cell 1 - MG
MG11 | Trim out MEP - COLO2 Cell 1 - MG
MG12 | Post Wall Overhead MEP - COLO2 Cell 1 - MG
MG2 | Install Dampers and actuators at Louvers - Lower level (OA) - COLO2 Cell 1 - MG
MG3 | Overhead MEP Installation - COLO2 Cell 1 - MG
MG4 | Deliver AHU into Mech. Gallery - COLO2 Cell 1 - MG
MG5 | Install Walls and Primer Paint - COLO2 Cell 1 - MG
MG6 | Placing the AHU - COLO2 Cell 1 - MG
MG7 | Layout Ceiling and install Pencile Rod - COLO2 Cell 1 - MG
MG8 | Piping and Electrical Termination to AHUs - COLO2 Cell 1 - MG
MG9 | Pipe Testing - COLO2 Cell 1 - MG
Trade 2
DH10 | Install Low Voltage Wiring and Fiber Optic - COLO2 Cell 1 - DH
DH11 | HAC Placing - COLO2 Cell 1 - DH
DH12 | Finishes and Signage - COLO2 Cell 1 - DH
DH2 | Termination at PDU & Busway- COLO2 Cell 1 - DH
DH3 | Overhead MEP and Hangers (Above Ceiling) - COLO2 Cell 1 - DH
DH4 | HAC install and Rise - COLO2 Cell 1 - DH
DH5 | Cable Pulling at PDU & Busway - COLO2 Cell 1 - DH
DH6 | Security Screen Installation - COLO2 Cell 1 - DH
DH7 | Ceiling Grid and Tile - COLO2 Cell 1 - DH
DH8 | Install PDU's - COLO2 Cell 1 - DH
DH9 | Overhead MEP Installation (Below Ceiling) - COLO2 Cell 1 - DH
Trade 3
C1 | Interior - L1 UPS - COLO2 Cell 1
C10 | Interior - L2 PDUs - COLO2 Cell 1
C11 | Interior - L2 AHUs - COLO2 Cell 1
C12 | Interior - L2 ATSs - COLO2 Cell 1
C13 | Interior - L2 Busway - COLO2 Cell 1
C14 | Interior - L2 ADP - COLO2 Cell 1
C15 | Interior - L3 UPS - COLO2 Cell 1
C16 | Interior - L3 MSB - COLO2 Cell 1
C17 | Interior - L3 PDUs - COLO2 Cell 1
C18 | Interior - L3 AHUs - COLO2 Cell 1
C19 | Interior - L3 ATSs - COLO2 Cell 1
C2 | Interior - L1 MSB - COLO2 Cell 1
C20 | Interior - L3 Busway - COLO2 Cell 1
C21 | Interior - L3 ADP - COLO2 Cell 1
C3 | Interior - L1 PDUs - COLO2 Cell 1
C4 | Interior - L1 AHUs - COLO2 Cell 1
C5 | Interior - L1 ATSs - COLO2 Cell 1
C6 | Interior - L1 Busway - COLO2 Cell 1
C7 | Interior - L1 ADP - COLO2 Cell 1
C8 | Interior - L2 UPS - COLO2 Cell 1
C9 | Interior - L2 MSB - COLO2 Cell 1
Trade 4
ER1 | Install Walls and Primer Paint - COLO2 Cell 1 - ER
ER10 | Door Frame Installation - COLO2 Cell 1 - ER
ER11 | Finishes and Signage - COLO2 Cell 1 - ER
ER12 | Installation of MSB - COLO2 Cell 1 - ER
ER2 | Sprinklers and Overhead MEP (Above Ceiling) - COLO2 Cell 1 - ER
ER3 | Install Upper Screens - COLO2 Cell 1 - ER
ER4 | Install Ceiling - COLO2 Cell 1 - ER
ER5 | Below Ceiling MEP Rough In - COLO2 Cell 1 - ER
ER6 | Installation of ADP & ATS - COLO2 Cell 1 - ER
ER7 | Installation of UPS Equipment - COLO2 Cell 1 - ER
ER8 | Connet to Cable tray and conduit equipment - COLO2 Cell 1 - ER
ER9 | Cable Pulling at Elec. Equipment - COLO2 Cell 1 - ER
Trade 5
L4 | COLO2 Cx LEV4 - COLO2
L5 | COLO2 Cx LEV5 / IST - COLO2